## Sheet1
Wetland | Notes
3_21 | Time-series looks good; no gaps in record; Logger stopped and relaunched itself a bunch of times inbetween hours between 3/3/23-3/10/23; does not seem to have affected the data and these "start" and "stop" records were simply delted from the time-series; Logger stopped logging 8/3/23. Pulled logger on 11/14/23 and was able to offload data so battery was not completely dead. But there is no recorded data between 8/3/23-11/17/23
3_23 | Time-series looks good; no gaps in record
3_34 | Bottoms out, mostly during records from last data offload; bottom-out depth changes starting Nov 2022 (depth changes from -0.67 to -0.61)
3_173 | Bottoms out, mostly during records from last data offload; bottom-out depth appears to change throughout hydrograph
3_244 | Bottoms out for small periods of time. Bottom-out depth changes.
3_311 | Bottoms out for small periods of time; Bottom-out depth changes
3_638 | Bottoms out super briefly (four days in May 2023)
5_161 | Bottoms out three times briefly
5_321 | Bottoms out once briefly
5_510 | Entire hydrograph is wonky; possibly a level logger issue? Well bottoms out a lot. Replaced LL on 6/2/23 in response to these issues but it still looks the same after this date.
5_546 | Bottoms our briefly once
5_560 | Time-series looks good; no gaps in record; possible bottoming out but periods are too brief to know for sure
5_573 | Time-series looks good; no gaps in record
5_597 | Brief bottoming out May 2023
5a_550 | Bottoms out often, especially during records from last data offload; bottom-out depth changes slightly throughout hydrograph
5a_582 | Bottoms out often, especially during records from last data offload; bottom-out depth appears to change throughout the hydrograph
5a_598 | Time-series looks good; no gaps in record; brief bottoming out May 2023
6_20 | Time-series looks good; no gaps in record
6_93 | Time-series looks good; no gaps in record; brief bottoming out May 2023
6_300 | Beginning to bottom out now (April/May 2023); Water level got below bottom-out level much earlier in hydrograph (bottom-out depth changes over time)
6_629 | Time-series looks good; no gaps in record; possible very brief bottoming out periods but time is too brief to discern
6a_17 | Time-series looks good; no gaps in record; brief bottoming out May 2023
6a_530 | Time-series looks good; no gaps in record; brief bottoming out May 2023
7_243 | Bottoms out; deleted three anomalous value on 11/25/22
7_341 | Time-series looks good; no gaps in record
7_622 | Bottoms out briefly
7_626 | Brief bottoming out period
9_77 | Bottoms out, mostly during time between last two offloads
9_332 | Bottoms out only recently (April 2023-now)
9_439 | Possibly starting to botttom out; removed 2/19/23 (2100 and 2200) anomalous measurements
9_508 | Bottoms out; bottom out depth changes during record
9_609 | Bottoms out briefly May 2023
13_263 | Time series looks good; removed anamalous measurements between 4/14/22 and 4/15/22. Still need to stitch together time-series from two different well locations using elevation difference
13_267 | Bottoms out briefly May 2023
13_271 | Bottoms out throughout record
13_274 | Super brief bottom out period May 2023
13_410 | Time series looks good; no gaps in record
14.9_168 | Bottoms out throughout record
14.9_527 | Super brief bottoming out period May 2023
14.9_601 | Super brief bottoming out period May 2023
14_15 | Bottoms out mid-record
14_115 | Bottoms out toward the end of record. Last quarter of record looks off; lots of variation in a short time, similar to 5_510.
14_418 | Bottoms out toward the end of record
14_500 | Bottoms out toward the end of record
14_538 | Bottoms out super briefly May 2023
14_610 | Large unexplained jump in pressure on 10/19/2022 between 1AM and 2AM. Replaced LL on 6/5/23 in response to this issue and sent malfunctioning LL back to Onset for tuneup. Likely need to remove 10/19/22-5/5/23 from record
14_612 | Bottoms out three times with slight change in bottom-out depth over time
14_616 | Bottoms out four times; slight change in bottom-out depth
15_4 | Generally bottoms out for second half of hydroperiod. Last third of record looks off; lots of variation in a short time, similar to 5_510 and 14_115.
15_268 | Generally bottoms out for second half of hydroperiod.
15_409 | Bottoms out five separate times
15_516 | Bottoms out briefly May 2023